FIRE EXTINGUISHER

CLASS QUICK GUIDE

| CLASS | FUEL TYPE | EXAMPLES | KEY NOTE |
| --- | --- | --- | --- |
| A | Ordinary combustibles | Wood, paper, cloth, trash, plastics | — |
| B | Flammable liquids & gases | Gasoline, oil, grease, propane, paint | Never use water |
| C | Energized electrical equipment | Wiring, panels, motors, tools | Never use water |
| D | Combustible metals | Magnesium, titanium, sodium, potassium | Special dry powder only |
| K | Cooking oils & fats | Commercial kitchen fryers, grills | Wet chemical agent only |

PASS TECHNIQUE

| P | PULL — Pull the safety pin, breaking the tamper seal |
| --- | --- |
| A | AIM — Aim low, pointing the nozzle at the base of the fire |
| S | SQUEEZE — Squeeze the handle slowly and evenly to release agent |
| S | SWEEP — Sweep side to side until the fire is fully out |

If a fire is too large, spreading fast, or you are unsure, evacuate and call for help immediately. Only fight a fire that is small, contained, and you have a clear escape route.

✂  CUT ALONG LINE  ✂

FIRE EXTINGUISHER

CLASS QUICK GUIDE

| CLASS | FUEL TYPE | EXAMPLES | KEY NOTE |
| --- | --- | --- | --- |
| A | Ordinary combustibles | Wood, paper, cloth, trash, plastics | — |
| B | Flammable liquids & gases | Gasoline, oil, grease, propane, paint | Never use water |
| C | Energized electrical equipment | Wiring, panels, motors, tools | Never use water |
| D | Combustible metals | Magnesium, titanium, sodium, potassium | Special dry powder only |
| K | Cooking oils & fats | Commercial kitchen fryers, grills | Wet chemical agent only |

PASS TECHNIQUE

| P | PULL — Pull the safety pin, breaking the tamper seal |
| --- | --- |
| A | AIM — Aim low, pointing the nozzle at the base of the fire |
| S | SQUEEZE — Squeeze the handle slowly and evenly to release agent |
| S | SWEEP — Sweep side to side until the fire is fully out |

If a fire is too large, spreading fast, or you are unsure, evacuate and call for help immediately. Only fight a fire that is small, contained, and you have a clear escape route.